## DP_AirReport_230223113721
Date | Boiler Combustion Chamber Temperature | Boiler Outlet Temperature | Boiler Main Stack Temperature | O2% before Scrubber | Scrubber Pressure In | Scrubber Pressure Out | Dryer Exhaust Fan Speed % | Dryer Exhaust Airflow Rate m3/hr | Biofilter Fan Speed % | Biofilter Fan Airflow Rate m3/hr | Biofilter Fan Loading Rate m3/m2/hr | Biofilter Odour Air Temperature | Biofilter Pressure | Biofilter Temperature
2022-07-01 | 672 | 220 | 116.6 | 13.1 | -0.9 | -136.8 | 63.7 | 1243.4 | 65 | 1354.2 | 23.7 | 18.4 | 1.7 | 12.8
2022-07-02 | 690 | 220 | 125.9 | 13.1 | -0.5 | -147 | 53.2 | 1040 | 65 | 1354.2 | 23.7 | 19.7 | 11.5 | 14.2
2022-07-03 | 678 | 220 | 129.8 | 11.5 | -1.9 | -150.8 | 65.2 | 1272.4 | 65 | 1354.2 | 23.7 | 19.3 | 3 | 13.2
2022-07-04 | 685 | 220 | 130.6 | 12.3 | -2.4 | -146.5 | 61.7 | 1204.7 | 65 | 1354.2 | 23.7 | 19.5 | 0.7 | 13.9
2022-07-05 | 691 | 220 | 130.3 | 12.1 | -0.3 | -151.6 | 55.1 | 1076.8 | 65 | 1354.2 | 23.7 | 19 | 2 | 14.1
2022-07-06 | 678 | 220 | 134.8 | 11.2 | -0.5 | -154.3 | 65.2 | 1272.4 | 65 | 1354.2 | 23.7 | 13.9 | 12.8 | 10.1
2022-07-07 | 665 | 220 | 127.1 | 13.3 | 0.2 | -151 | 57.4 | 1121.4 | 65 | 1354.2 | 23.7 | 18.6 | 4.8 | 13.7
2022-07-08 | 696 | 220 | 126.7 | 11.6 | -0.8 | -152 | 66.1 | 1289.8 | 65 | 1354.2 | 23.7 | 24.2 | 1.9 | 17.8
2022-07-09 | 710 | 220 | 126.4 | 11.6 | -2.1 | -152 | 63.1 | 1231.8 | 65 | 1354.2 | 23.7 | 19.7 | 1.7 | 13.7
2022-07-10 | 699 | 220 | 126.4 | 13.1 | 0.9 | -150.8 | 61.3 | 1196.9 | 65 | 1354.2 | 23.7 | 18.4 | 22.6 | 13.4
2022-07-11 | 697 | 220 | 133.6 | 11.2 | -2 | -154 | 69.1 | 1347.8 | 65 | 1354.2 | 23.7 | 18.8 | 4.2 | 13.6
2022-07-12 | 700 | 220 | 133.8 | 10.8 | -2.2 | -151.9 | 72.1 | 1405.8 | 65 | 1354.2 | 23.7 | 23.1 | 5.9 | 16
2022-07-13 | 680 | 220 | 122.2 | 11 | -2.3 | -153.1 | 66.2 | 1291.7 | 65 | 1354.2 | 23.7 | 22.7 | 0.8 | 16.4
2022-07-14 | 680 | 220 | 119.6 | 10.8 | -2 | -153.3 | 75.4 | 1469.6 | 65 | 1354.2 | 23.7 | 19.4 | 7.9 | 13.6
2022-07-15 | 685 | 220 | 118.7 | 12.6 | -0.6 | -152.7 | 74.9 | 1459.9 | 65 | 1354.2 | 23.7 | 18 | 4.3 | 12.8
2022-07-16 | 657 | 220 | 122.2 | 11.4 | -2.5 | -155.9 | 84.4 | 1643.4 | 65 | 1354.2 | 23.7 | 13.7 | 6.5 | 9.2
2022-07-17 | 669 | 220 | 122.2 | 11.6 | -1.4 | -153.6 | 87.7 | 1707.1 | 65 | 1354.2 | 23.7 | 21.6 | 8.1 | 15.7
2022-07-18 | 685 | 220 | 114.2 | 12.2 | 1 | -132.1 | 95 | 1847.9 | 65 | 1354.2 | 23.7 | 20.9 | 14.3 | 14.4
2022-07-19 | 682 | 220 | 122.7 | 11.2 | -1.4 | -153.4 | 88.5 | 1722.6 | 65 | 1354.2 | 23.7 | 22 | 1.8 | 15.6
2022-07-20 | 655 | 220 | 104.3 | 12.5 | -2.5 | -184.9 | 48.6 | 950.8 | 65 | 1354.2 | 23.7 | 18.6 | 3.2 | 13.8
2022-07-21 | 664 | 220 | 105.5 | 12.4 | -1.1 | -184.8 | 46.1 | 902.3 | 65 | 1354.2 | 23.7 | 16.3 | 10.8 | 11.6
2022-07-22 | 649 | 220 | 100.8 | 13.4 | 1.9 | -170.4 | 45.7 | 894.6 | 65 | 1354.2 | 23.7 | 15 | 8.4 | 10.5
2022-07-23 | 664 | 220 | 105.6 | 13.8 | 1.8 | -173.7 | 43.4 | 849.9 | 65 | 1354.2 | 23.7 | 14 | 1 | 10
2022-07-24 | 655 | 220 | 108.7 | 12 | -2.1 | -181.8 | 41.4 | 811.1 | 65 | 1354.2 | 23.7 | 15.8 | 5.7 | 12.2
2022-07-25 | 673 | 220 | 109.5 | 12.8 | -0.8 | -178.7 | 49.1 | 960.5 | 65 | 1354.2 | 23.7 | 19.5 | 2.9 | 14.8
2022-07-26 | 688 | 220 | 106.3 | 12.6 | -0.4 | -158.5 | 59.6 | 1164 | 65 | 1354.2 | 23.7 | 22.1 | 7.1 | 16.7
2022-07-27 | 684 | 220 | 109.7 | 13.5 | -0.8 | -180 | 58 | 1133 | 65 | 1354.2 | 23.7 | 21.2 | 2.9 | 16.1
2022-07-28 | 671 | 220 | 107.7 | 11.6 | -0.4 | -169.5 | 54.4 | 1063.3 | 65 | 1354.2 | 23.7 | 21.1 | 12 | 15.9
2022-07-29 | 649 | 220 | 104.2 | 12.1 | -0.9 | -151.6 | 64.7 | 1262.7 | 65 | 1354.2 | 23.7 | 21.4 | 8.3 | 16
2022-07-30 | 662 | 220 | 104.9 | 12.5 | -0.5 | -174.2 | 55 | 1074.9 | 65 | 1354.2 | 23.7 | 20.9 | 2.8 | 14.7
2022-07-31 | 658 | 220 | 107.8 | 12.3 | -1.3 | -163.6 | 63 | 1229.8 | 65 | 1354.2 | 23.7 | 13.4 | 10.4 | 8.8
2022-08-01 | 674 | 220 | 110.8 | 11.9 | -2.9 | -182.1 | 55.9 | 1092.3 | 65 | 1354.2 | 23.7 | 20.4 | 4.1 | 15
2022-08-02 | 678 | 220 | 105.9 | 11.9 | 0.5 | -160.2 | 60.6 | 1183.4 | 65 | 1354.2 | 23.7 | 22.1 | 1.4 | 15.9
2022-08-03 | 678 | 220 | 114.9 | 11.9 | -0.2 | -180.1 | 54.2 | 1059.4 | 65 | 1354.2 | 23.7 | 21.5 | 9.2 | 16.2
2022-08-04 | 678 | 220 | 116 | 11.9 | -0.4 | -185.2 | 56.6 | 1105.9 | 65 | 1354.2 | 23.7 | 20.9 | 3.9 | 15.3
2022-08-05 | 688 | 220 | 115.4 | 10.8 | -1.2 | -182.3 | 63 | 1229.8 | 65 | 1354.2 | 23.7 | 20.9 | 3.6 | 14.8
2022-08-06 | 682 | 220 | 114.4 | 11.1 | -2.2 | -173.8 | 55.2 | 1078.8 | 65 | 1354.2 | 23.7 | 21.5 | 2.5 | 15.4
2022-08-07 | 679 | 220 | 104.6 | 12.3 | 1.6 | -139.2 | 54.2 | 1059.4 | 65 | 1354.2 | 23.7 | 18.4 | 0.1 | 12.7
2022-08-08 | 680 | 220 | 115.6 | 10.9 | -1.5 | -174 | 65 | 1268.5 | 65 | 1354.2 | 23.7 | 17.5 | 2.1 | 12.5
2022-08-09 | 675 | 220 | 116 | 11.7 | -1.1 | -165 | 60.4 | 1179.5 | 65 | 1354.2 | 23.7 | 17.5 | 7.4 | 12.2
2022-08-10 | 666 | 220 | 119.2 | 11.1 | -1.1 | -170.5 | 68.6 | 1338.2 | 65 | 1354.2 | 23.7 | 13.9 | 1.5 | 10
2022-08-11 | 671 | 220 | 108.6 | 12.5 | 0.1 | -157 | 69.3 | 1351.7 | 65 | 1354.2 | 23.7 | 14.1 | 8.3 | 8.9
2022-08-12 | 657 | 220 | 111.8 | 11.9 | -1 | -142 | 76.5 | 1490.9 | 65 | 1354.2 | 23.7 | 13.2 | 2.2 | 8.7
2022-08-13 | 665 | 220 | 120.8 | 10.9 | -1.6 | -172.4 | 73.6 | 1434.8 | 65 | 1354.2 | 23.7 | 15 | 16 | 11
2022-08-14 | 676 | 220 | 120.5 | 10.9 | -1.5 | -171 | 66.4 | 1295.6 | 65 | 1354.2 | 23.7 | 20.2 | 1.1 | 14.8
2022-08-15 | 673 | 220 | 121.2 | 11.1 | 1.3 | -174.4 | 66.1 | 1289.8 | 65 | 1354.2 | 23.7 | 18.2 | 1.9 | 13
2022-08-16 | 689 | 220 | 114.7 | 12.5 | 1.3 | -158.6 | 66.5 | 1297.5 | 65 | 1354.2 | 23.7 | 22.9 | 12.9 | 16.5
2022-08-17 | 688 | 220 | 116.7 | 12.1 | -1.6 | -139.3 | 79.4 | 1546.9 | 65 | 1354.2 | 23.7 | 23 | 1.7 | 17.2
2022-08-18 | 671 | 220 | 117.8 | 11.8 | -2.4 | -179.4 | 81.9 | 1595.2 | 65 | 1354.2 | 23.7 | 24 | 13 | 18.1
2022-08-19 | 665 | 220 | 119 | 11.5 | -2.4 | -174.7 | 61.3 | 1196.9 | 65 | 1354.2 | 23.7 | 25.5 | 10.7 | 20.2
2022-08-20 | 652 | 220 | 115.1 | 12.4 | -1.6 | -165.9 | 77.4 | 1508.2 | 65 | 1354.2 | 23.7 | 22.6 | 13.8 | 17.1
2022-08-21 | 640 | 220 | 109.4 | 12.3 | -1.2 | -155.1 | 73.7 | 1436.8 | 65 | 1354.2 | 23.7 | 21 | 6.4 | 16.4
2022-08-22 | 656 | 220 | 114.1 | 11.4 | -1.4 | -158.4 | 68.4 | 1334.3 | 65 | 1354.2 | 23.7 | 21.1 | 13.6 | 15.8
2022-08-23 | 644 | 220 | 109.6 | 11.9 | -1.3 | -155.4 | 72.2 | 1407.8 | 65 | 1354.2 | 23.7 | 21.4 | 2.9 | 15.8
2022-08-24 | 658 | 220 | 118.7 | 11.1 | -1.1 | -177.5 | 62.5 | 1220.1 | 65 | 1354.2 | 23.7 | 21.8 | 8.6 | 16.7
2022-08-25 | 669 | 220 | 114.7 | 11.9 | -1.6 | -150.5 | 72.1 | 1405.8 | 65 | 1354.2 | 23.7 | 21.1 | 5.8 | 16
2022-08-26 | 664 | 220 | 113.9 | 11.7 | -1.2 | -163.7 | 61.2 | 1195 | 65 | 1354.2 | 23.7 | 19.7 | 1.8 | 14.8
2022-08-27 | 661 | 220 | 116.5 | 12.5 | -4.8 | -144.8 | 76.7 | 1494.7 | 65 | 1354.2 | 23.7 | 18.4 | 8.7 | 13.1
2022-08-28 | 672 | 220 | 121.3 | 11 | 0.6 | -177.3 | 72.7 | 1417.4 | 65 | 1354.2 | 23.7 | 17.9 | 9.2 | 12.7
2022-08-29 | 687 | 220 | 122.8 | 10.8 | -2 | -181.6 | 72 | 1403.9 | 65 | 1354.2 | 23.7 | 16.5 | 1.7 | 11.2
2022-08-30 | 688 | 220 | 121.8 | 11.5 | -1 | -181.9 | 80.6 | 1570.1 | 65 | 1354.2 | 23.7 | 15.7 | 8.7 | 10.5
2022-08-31 | 688 | 220 | 124.4 | 12.3 | 0.8 | -180.4 | 79.9 | 1556.5 | 65 | 1354.2 | 23.7 | 21.9 | 4.1 | 16.3
2022-09-01 | 672 | 220 | 121.6 | 11.6 | -0.7 | -175.2 | 78.3 | 1525.6 | 65 | 1354.2 | 23.7 | 22.4 | 12.9 | 16.7
2022-09-02 | 685 | 220 | 126.8 | 10.9 | -1.8 | -175.9 | 87.1 | 1695.5 | 65 | 1354.2 | 23.7 | 22.7 | 2.6 | 16.7
2022-09-03 | 680 | 220 | 123.9 | 11.8 | -0.3 | -179.7 | 79.1 | 1541.1 | 65 | 1354.2 | 23.7 | 21.4 | 4.4 | 15.6
2022-09-04 | 674 | 220 | 124.1 | 11 | -2.4 | -166.3 | 82.8 | 1612.5 | 65 | 1354.2 | 23.7 | 20.4 | 5.7 | 14.8
2022-09-05 | 684 | 220 | 118 | 12.1 | 0 | -174.5 | 90 | 1751.5 | 65 | 1354.2 | 23.7 | 16.4 | 2.6 | 10.6
2022-09-06 | 680 | 220 | 126 | 10.5 | -3.2 | -180.9 | 91.5 | 1780.4 | 65 | 1354.2 | 23.7 | 16.6 | 6.5 | 10.5
2022-09-07 | 678 | 220 | 124.5 | 10.9 | -0.2 | -176.9 | 86.2 | 1678.2 | 65 | 1354.2 | 23.7 | 19.1 | 8 | 13.5
2022-09-08 | 671 | 220 | 125.5 | 10.8 | -1.8 | -180.8 | 86 | 1674.3 | 65 | 1354.2 | 23.7 | 17.2 | 2.2 | 12.2
2022-09-09 | 643 | 220 | 112.5 | 11.4 | -0.6 | -188.5 | 65 | 1268.5 | 65 | 1354.2 | 23.7 | 17.6 | 12.8 | 13.4
2022-09-10 | 655 | 220 | 109.3 | 11.8 | -0.6 | -137.8 | 65.8 | 1284 | 65 | 1354.2 | 23.7 | 19.3 | 1.4 | 14.4
2022-09-11 | 665 | 220 | 110.5 | 11.8 | -0.8 | -146.6 | 75.3 | 1467.7 | 65 | 1354.2 | 23.7 | 19.7 | 8.3 | 15.3
2022-09-12 | 672 | 220 | 113.9 | 12.6 | -1.2 | -177 | 63.3 | 1235.6 | 65 | 1354.2 | 23.7 | 21.9 | 1.9 | 16.7
2022-09-13 | 673 | 220 | 116.8 | 11.8 | -0.6 | -187.2 | 74.9 | 1459.9 | 65 | 1354.2 | 23.7 | 20.4 | 6.8 | 14.8
2022-09-14 | 658 | 220 | 113.1 | 12.7 | 0.9 | -143 | 81.2 | 1581.6 | 65 | 1354.2 | 23.7 | 16.3 | 4.8 | 12.2
2022-09-15 | 663 | 220 | 113.9 | 12.7 | -1.7 | -140.5 | 84.7 | 1649.2 | 65 | 1354.2 | 23.7 | 17 | 13.6 | 11.8
2022-09-16 | 663 | 220 | 118.6 | 12.5 | -1 | -179.4 | 80.8 | 1573.9 | 65 | 1354.2 | 23.7 | 16.3 | 4 | 11.6
2022-09-17 | 663 | 220 | 123 | 12.1 | -2.3 | -158.6 | 75.5 | 1471.5 | 65 | 1354.2 | 23.7 | 18.8 | 1 | 15
2022-09-18 | 668 | 220 | 121.5 | 11.9 | -1.6 | -169.4 | 78.2 | 1523.7 | 65 | 1354.2 | 23.7 | 18.4 | 6 | 13.9
2022-09-19 | 687 | 220 | 126 | 11.6 | -1.5 | -164.5 | 70.7 | 1378.8 | 65 | 1354.2 | 23.7 | 21.9 | 6.3 | 17.3
2022-09-20 | 687 | 220 | 114.9 | 12.2 | -1.5 | -143.2 | 82.4 | 1604.8 | 65 | 1354.2 | 23.7 | 19.8 | 1.9 | 15.7
2022-09-21 | 666 | 220 | 126.7 | 11.2 | -3.2 | -164.3 | 66.8 | 1303.3 | 65 | 1354.2 | 23.7 | 20.9 | 11 | 16.2
2022-09-22 | 661 | 220 | 123 | 13.1 | 1.1 | -180.9 | 63.8 | 1245.3 | 65 | 1354.2 | 23.7 | 20 | 13.7 | 15.3
2022-09-23 | 673 | 220 | 121.3 | 12.7 | -0.7 | -178.6 | 61.5 | 1200.8 | 65 | 1354.2 | 23.7 | 19.9 | 2.1 | 15.1
2022-09-24 | 674 | 220 | 124 | 12.9 | 1.4 | -179.7 | 73 | 1423.2 | 65 | 1354.2 | 23.7 | 20 | 10.3 | 16.3
2022-09-25 | 676 | 220 | 125.9 | 12.7 | -0.5 | -179.6 | 67.9 | 1324.6 | 65 | 1354.2 | 23.7 | 17.9 | 1.9 | 12.7
2022-09-26 | 686 | 220 | 128 | 11.5 | -2 | -184.5 | 70.5 | 1374.9 | 65 | 1354.2 | 23.7 | 18.4 | 2.4 | 13.4
2022-09-27 | 688 | 220 | 121.3 | 12.3 | -1.1 | -189.4 | 70.7 | 1378.8 | 65 | 1354.2 | 23.7 | 17.8 | 1.9 | 12.9
2022-09-28 | 685 | 220 | 123.8 | 11.7 | -0.9 | -147.1 | 73.8 | 1438.7 | 65 | 1354.2 | 23.7 | 22.7 | 7.4 | 17.8
2022-09-29 | 643 | 220 | 120.3 | 11.4 | -3.2 | -173.3 | 69.2 | 1349.8 | 65 | 1354.2 | 23.7 | 21.7 | 0.9 | 16.8
2022-09-30 | 656 | 220 | 118.3 | 12.6 | 1.2 | -186.9 | 62.7 | 1224 | 65 | 1354.2 | 23.7 | 18.5 | 2 | 12.8
2022-10-01 | 649 | 220 | 120.9 | 11.6 | -2.8 | -158.2 | 84.1 | 1637.6 | 65 | 1354.2 | 23.7 | 21.8 | 12.9 | 16.1
2022-10-02 | 683 | 220 | 121.2 | 12.8 | 0.3 | -189.7 | 74.6 | 1454.1 | 65 | 1354.2 | 23.7 | 20.1 | 6.2 | 15.4
2022-10-03 | 698 | 220 | 117.1 | 11.3 | -0.3 | -151.6 | 80.1 | 1560.4 | 65 | 1354.2 | 23.7 | 19.1 | 6.3 | 13.6
2022-10-04 | 666 | 220 | 127.2 | 10.3 | -1.2 | -195.1 | 79.3 | 1544.9 | 65 | 1354.2 | 23.7 | 22.2 | 1.8 | 16.1
2022-10-05 | 683 | 220 | 122.7 | 10.8 | -1.6 | -189 | 72.2 | 1407.8 | 65 | 1354.2 | 23.7 | 15.6 | 7.8 | 10.5
2022-10-06 | 682 | 220 | 129.9 | 10.4 | -0.7 | -189.6 | 71.4 | 1392.3 | 65 | 1354.2 | 23.7 | 17.1 | 5.8 | 11.9
2022-10-07 | 663 | 220 | 128.4 | 11.4 | -0.3 | -160.7 | 80.1 | 1560.4 | 65 | 1354.2 | 23.7 | 16.2 | 16.5 | 10.9
2022-10-08 | 662 | 220 | 130.5 | 11.2 | 0.3 | -190.2 | 87.7 | 1707.1 | 65 | 1354.2 | 23.7 | 21.5 | 9.1 | 15.9
2022-10-09 | 673 | 220 | 132.7 | 10.8 | -0.9 | -193.2 | 65.4 | 1276.3 | 65 | 1354.2 | 23.7 | 21.2 | 9.8 | 15.2
2022-10-10 | 686 | 220 | 134.1 | 10.9 | -0.1 | -194.7 | 72.7 | 1417.4 | 65 | 1354.2 | 23.7 | 23.7 | 11.7 | 17.7
2022-10-11 | 699 | 220 | 129.7 | 11.9 | -2.5 | -167.7 | 78.3 | 1525.6 | 65 | 1354.2 | 23.7 | 19.4 | 10.4 | 15
2022-10-12 | 690 | 220 | 130.3 | 11.4 | -0.5 | -175.6 | 85.4 | 1662.7 | 65 | 1354.2 | 23.7 | 19.9 | 4.9 | 15.2
2022-10-13 | 654 | 220 | 111.6 | 12.2 | -1.9 | -174.2 | 67.8 | 1322.7 | 65 | 1354.2 | 23.7 | 18.2 | 11.7 | 13.9
2022-10-14 | 661 | 220 | 115.5 | 12.4 | -2 | -151.8 | 71.8 | 1400 | 65 | 1354.2 | 23.7 | 17.2 | 9.3 | 13.1
2022-10-15 | 678 | 220 | 116.6 | 12.5 | -1.1 | -190.1 | 60.7 | 1185.3 | 65 | 1354.2 | 23.7 | 18.3 | 13.1 | 14
2022-10-16 | 675 | 220 | 120.4 | 12 | -1.5 | -189.6 | 68.5 | 1336.2 | 65 | 1354.2 | 23.7 | 21.5 | 7.5 | 16.2
2022-10-17 | 676 | 220 | 121.6 | 11.7 | -1.6 | -187 | 68.5 | 1336.2 | 65 | 1354.2 | 23.7 | 21.7 | 2 | 17.1
2022-10-18 | 677 | 220 | 126.9 | 11.2 | -4.2 | -186.2 | 67.1 | 1309.1 | 65 | 1354.2 | 23.7 | 20 | 11.7 | 16
2022-10-19 | 675 | 220 | 121.4 | 11.8 | 1.7 | -147.4 | 83 | 1616.4 | 65 | 1354.2 | 23.7 | 21.5 | 1.4 | 16
2022-10-20 | 676 | 220 | 117.2 | 10.5 | -2 | -189.2 | 59 | 1152.4 | 65 | 1354.2 | 23.7 | 21.1 | 2.5 | 16.5
2022-10-21 | 677 | 220 | 116.1 | 12 | -0.9 | -190.5 | 80.3 | 1564.3 | 65 | 1354.2 | 23.7 | 15.6 | 5.3 | 11.3
2022-10-22 | 664 | 220 | 108.2 | 11.7 | -0.2 | -152.2 | 70.8 | 1380.7 | 65 | 1354.2 | 23.7 | 16.9 | 6.7 | 12.7
2022-10-23 | 668 | 220 | 118.7 | 10.9 | -0.2 | -168 | 78.8 | 1535.3 | 65 | 1354.2 | 23.7 | 23 | 10.6 | 17.9
2022-10-24 | 668 | 220 | 115.4 | 11.9 | -1.2 | -182.1 | 70.4 | 1373 | 65 | 1354.2 | 23.7 | 20.6 | 25 | 15.5
2022-10-25 | 664 | 220 | 115.8 | 11.4 | -0.5 | -149 | 82.4 | 1604.8 | 65 | 1354.2 | 23.7 | 18.8 | 1.8 | 14.9
2022-10-26 | 678 | 220 | 118.6 | 11.5 | -1.6 | -188.5 | 73.3 | 1429 | 65 | 1354.2 | 23.7 | 23.7 | 2.3 | 18
2022-10-27 | 677 | 220 | 115.9 | 11.1 | 0.2 | -171.3 | 82.1 | 1599 | 65 | 1354.2 | 23.7 | 22.3 | 8 | 17.1
2022-10-28 | 686 | 220 | 123.4 | 10 | -2 | -185.1 | 64.9 | 1266.6 | 65 | 1354.2 | 23.7 | 26.3 | 2.5 | 20.6
2022-10-29 | 689 | 220 | 125.1 | 10.2 | 0 | -193.5 | 74.3 | 1448.3 | 65 | 1354.2 | 23.7 | 24.4 | 8.1 | 19
2022-10-30 | 698 | 220 | 122.1 | 10.2 | -0.6 | -146.8 | 73.3 | 1429 | 65 | 1354.2 | 23.7 | 22.6 | 8.8 | 18.4
2022-10-31 | 707 | 220 | 124.8 | 10.2 | -0.9 | -190.3 | 65 | 1268.5 | 65 | 1354.2 | 23.7 | 23.5 | 6.6 | 18.8
2022-11-01 | 705 | 220 | 125.2 | 10.2 | -4.6 | -192.9 | 77.3 | 1506.3 | 65 | 1354.2 | 23.7 | 24.3 | 15.1 | 18.7
2022-11-02 | 708 | 220 | 119.1 | 11.2 | 0.5 | -171.5 | 65.3 | 1274.3 | 65 | 1354.2 | 23.7 | 24.7 | 2.5 | 20
2022-11-03 | 708 | 220 | 125.8 | 10.2 | -1.2 | -192.2 | 73.9 | 1440.6 | 65 | 1354.2 | 23.7 | 24.3 | 1.8 | 19.8
2022-11-04 | 704 | 220 | 121.3 | 12.5 | 2.6 | -189.1 | 62.9 | 1227.9 | 65 | 1354.2 | 23.7 | 22.3 | 11.7 | 17.8
2022-11-05 | 693 | 220 | 118.7 | 11.2 | -1.5 | -180.3 | 62.1 | 1212.4 | 65 | 1354.2 | 23.7 | 21 | 5.5 | 17.4
2022-11-06 | 691 | 220 | 122.9 | 11 | -2.2 | -189.8 | 75.2 | 1465.7 | 65 | 1354.2 | 23.7 | 19.7 | 8 | 16.1
2022-11-07 | 698 | 220 | 126.5 | 10.2 | -2 | -176.9 | 68.6 | 1338.2 | 65 | 1354.2 | 23.7 | 19.5 | 0.5 | 16.7
2022-11-08 | 683 | 220 | 122.6 | 11.2 | -1.5 | -191.8 | 78.2 | 1523.7 | 65 | 1354.2 | 23.7 | 19.1 | 9.7 | 16.7
2022-11-09 | 686 | 220 | 126.5 | 10.6 | -1.9 | -192.5 | 68.7 | 1340.1 | 65 | 1354.2 | 23.7 | 22.5 | 6.8 | 20.2
2022-11-10 | 696 | 220 | 122.8 | 11.4 | -0.5 | -190.6 | 76.3 | 1487 | 65 | 1354.2 | 23.7 | 16.7 | 3.4 | 13.9
2022-11-11 | 685 | 220 | 128.8 | 9.9 | 0 | -191.6 | 72.5 | 1413.6 | 65 | 1354.2 | 23.7 | 21.2 | 9.2 | 18.4
2022-11-12 | 708 | 220 | 123.3 | 11 | -0.5 | -173.4 | 69.7 | 1359.4 | 65 | 1354.2 | 23.7 | 24.3 | 3.5 | 19.9
2022-11-13 | 710 | 220 | 130.4 | 10.1 | -1.4 | -195.8 | 62.1 | 1212.4 | 65 | 1354.2 | 23.7 | 23.1 | 11.9 | 19.7
2022-11-14 | 726 | 220 | 129.5 | 11.1 | -2.8 | -194.8 | 76.4 | 1488.9 | 65 | 1354.2 | 23.7 | 21.8 | 1.5 | 18
2022-11-15 | 687 | 220 | 123.1 | 10.7 | -3 | -194.3 | 80.7 | 1572 | 65 | 1354.2 | 23.7 | 23.2 | 5.2 | 19
2022-11-16 | 679 | 220 | 123.3 | 10.9 | -3.2 | -196 | 75.6 | 1473.5 | 65 | 1354.2 | 23.7 | 20.7 | 7.4 | 19.2
2022-11-17 | 693 | 220 | 118.2 | 11.9 | -2.4 | -187.8 | 64 | 1249.2 | 65 | 1354.2 | 23.7 | 24.1 | 10.9 | 19.7
2022-11-18 | 698 | 220 | 122.5 | 10.9 | -0.8 | -179.8 | 70.3 | 1371 | 65 | 1354.2 | 23.7 | 24.9 | 5.7 | 20.5
2022-11-19 | 690 | 220 | 119.7 | 11.7 | -0.9 | -189 | 65.1 | 1270.5 | 65 | 1354.2 | 23.7 | 23.7 | 30.4 | 19.3
2022-11-20 | 689 | 220 | 124.4 | 10.7 | -3.5 | -177.5 | 66.9 | 1305.3 | 65 | 1354.2 | 23.7 | 24.4 | 10.1 | 19.3
2022-11-21 | 688 | 220 | 119.4 | 12.8 | -0.8 | -191.2 | 63.9 | 1247.2 | 65 | 1354.2 | 23.7 | 25.2 | 10.9 | 19.5
2022-11-22 | 686 | 220 | 123.9 | 10.1 | -1 | -185.3 | 67.1 | 1309.1 | 65 | 1354.2 | 23.7 | 23.2 | 7.9 | 17.9
2022-11-23 | 686 | 220 | 123.8 | 10.4 | 1.1 | -189.9 | 80.3 | 1564.3 | 65 | 1354.2 | 23.7 | 23.4 | 4.7 | 17.9
2022-11-24 | 678 | 220 | 124.9 | 10.4 | -1.3 | -190.5 | 66.4 | 1295.6 | 65 | 1354.2 | 23.7 | 22.1 | 18.1 | 17.4
2022-11-25 | 684 | 220 | 125.7 | 10.7 | -1.8 | -176.9 | 78.1 | 1521.8 | 65 | 1354.2 | 23.7 | 22.8 | 11.1 | 17.8
2022-11-26 | 671 | 220 | 121.4 | 11.4 | 0.1 | -189.3 | 68.5 | 1336.2 | 65 | 1354.2 | 23.7 | 24.1 | 11.4 | 19.4
2022-11-27 | 678 | 220 | 120.4 | 12 | -2.5 | -188.2 | 77 | 1500.5 | 65 | 1354.2 | 23.7 | 20.3 | 6.2 | 16.3
2022-11-28 | 646 | 220 | 118.8 | 11.1 | 0.3 | -191.3 | 64.5 | 1258.8 | 65 | 1354.2 | 23.7 | 22.4 | 9.3 | 18
2022-11-29 | 673 | 220 | 116.7 | 11.7 | 0.2 | -185.1 | 60.5 | 1181.4 | 65 | 1354.2 | 23.7 | 22.9 | 9.6 | 17.9
2022-11-30 | 666 | 220 | 112.6 | 12 | -1.8 | -155.8 | 66.1 | 1289.8 | 65 | 1354.2 | 23.7 | 21 | 10 | 16.4
2022-12-01 | 665 | 220 | 120.5 | 11.2 | -1.3 | -190.8 | 65.7 | 1282.1 | 65 | 1354.2 | 23.7 | 21.9 | 13 | 18.5
2022-12-02 | 658 | 220 | 121.7 | 10.6 | -0.8 | -187.8 | 62.1 | 1212.4 | 65 | 1354.2 | 23.7 | 20.5 | 6.2 | 16.8
2022-12-03 | 661 | 220 | 121.2 | 11 | -1.1 | -192.6 | 72.6 | 1415.5 | 65 | 1354.2 | 23.7 | 19.6 | 16.4 | 15.6
2022-12-04 | 677 | 220 | 122 | 11.6 | 1 | -189.3 | 72.2 | 1407.8 | 65 | 1354.2 | 23.7 | 23.6 | 7.3 | 18.5
2022-12-05 | 686 | 220 | 119.8 | 12 | -0.4 | -192.5 | 58.9 | 1150.4 | 65 | 1354.2 | 23.7 | 24.2 | 19.6 | 19.2
2022-12-06 | 684 | 220 | 120.4 | 11.4 | 0 | -197.9 | 74.3 | 1448.3 | 65 | 1354.2 | 23.7 | 22.8 | 6.1 | 17.9
2022-12-07 | 620 | 220 | 122.2 | 11.2 | -3.8 | -197.6 | 79.3 | 1544.9 | 65 | 1354.2 | 23.7 | 19.8 | 2.5 | 15.7
2022-12-08 | 682 | 220 | 125.1 | 11.7 | -0.9 | -149.1 | 79.9 | 1556.5 | 65 | 1354.2 | 23.7 | 25.4 | 3 | 20.5
2022-12-09 | 702 | 220 | 131.9 | 9.9 | 1.2 | -191.8 | 84.1 | 1637.6 | 65 | 1354.2 | 23.7 | 24.9 | 11.3 | 20.7
2022-12-10 | 668 | 220 | 124.3 | 12.2 | 0.2 | -192 | 80.8 | 1573.9 | 65 | 1354.2 | 23.7 | 23.9 | 14.6 | 19.4
2022-12-11 | 665 | 220 | 124.1 | 10.7 | -1 | -197.9 | 91.4 | 1778.5 | 65 | 1354.2 | 23.7 | 25.2 | 14.3 | 20.7
2022-12-12 | 671 | 220 | 122.2 | 11.4 | -2 | -194.7 | 78.7 | 1533.4 | 65 | 1354.2 | 23.7 | 22.8 | 12.3 | 18.8
2022-12-13 | 672 | 220 | 126.3 | 10.4 | -2.4 | -191.3 | 74 | 1442.5 | 65 | 1354.2 | 23.7 | 26.4 | 5.3 | 21.6
2022-12-14 | 673 | 220 | 127.1 | 10.2 | -1 | -186.9 | 75.1 | 1463.8 | 65 | 1354.2 | 23.7 | 25.7 | 4.3 | 21.8
2022-12-15 | 675 | 220 | 127.2 | 10.2 | -4.6 | -173.5 | 70 | 1365.2 | 65 | 1354.2 | 23.7 | 22.7 | 6.6 | 21.9
2022-12-16 | 684 | 220 | 126.7 | 10.4 | -2 | -167.6 | 72.2 | 1407.8 | 65 | 1354.2 | 23.7 | 26.2 | 6.7 | 22.6
2022-12-17 | 683 | 220 | 123.9 | 11.4 | -0.2 | -191.4 | 73.5 | 1432.9 | 65 | 1354.2 | 23.7 | 23.6 | 8.5 | 20
2022-12-18 | 689 | 220 | 127.3 | 10.2 | -2.1 | -187.9 | 75.8 | 1477.3 | 65 | 1354.2 | 23.7 | 24.5 | 18.3 | 20.4
2022-12-19 | 636 | 220 | 120.7 | 10.7 | -3 | -186.1 | 64.2 | 1253 | 65 | 1354.2 | 23.7 | 21.3 | 8.2 | 20.2
2022-12-20 | 636 | 220 | 118 | 11.4 | -0.2 | -180.4 | 65 | 1268.5 | 65 | 1354.2 | 23.7 | 20.3 | 18.1 | 19.2
2022-12-21 | 653 | 220 | 117.9 | 11.6 | -0.3 | -179.8 | 68.6 | 1338.2 | 65 | 1354.2 | 23.7 | 19.1 | 11.1 | 18.8
2022-12-22 | 663 | 220 | 117.4 | 11.7 | 1.6 | -178.3 | 66.2 | 1291.7 | 65 | 1354.2 | 23.7 | 24.1 | 12.4 | 20.8
2022-12-23 | 671 | 220 | 125.8 | 10.6 | -1.2 | -191.2 | 66.6 | 1299.5 | 65 | 1354.2 | 23.7 | 24.4 | 4.9 | 21
2022-12-24 | 676 | 220 | 129.3 | 10.6 | -4.1 | -188.4 | 68.4 | 1334.3 | 65 | 1354.2 | 23.7 | 25 | 1.6 | 20.7
2022-12-25 | 668 | 220 | 126.8 | 10.7 | -0.3 | -186.3 | 78.1 | 1521.8 | 65 | 1354.2 | 23.7 | 24.3 | 12.3 | 20.2
2022-12-26 | 688 | 220 | 130.5 | 11.1 | 0.5 | -197.9 | 78 | 1519.8 | 65 | 1354.2 | 23.7 | 24.8 | 1.6 | 20.5
2022-12-27 | 706 | 220 | 126.4 | 10.9 | -1.9 | -163 | 78.4 | 1527.6 | 65 | 1354.2 | 23.7 | 25.4 | 6.4 | 21
2022-12-28 | 677 | 220 | 132.2 | 10.5 | -1.3 | -198.4 | 78.1 | 1521.8 | 65 | 1354.2 | 23.7 | 24.1 | 11.8 | 20.5
2022-12-29 | 689 | 220 | 133.4 | 10.2 | -1.6 | -194.9 | 74.6 | 1454.1 | 65 | 1354.2 | 23.7 | 26.6 | 5.8 | 22
2022-12-30 | 696 | 220 | 129.5 | 10.9 | -0.6 | -191.4 | 71.9 | 1402 | 65 | 1354.2 | 23.7 | 24 | 1.2 | 20
2022-12-31 | 696 | 220 | 126.5 | 11.4 | -1.6 | -192.4 | 70.8 | 1380.7 | 65 | 1354.2 | 23.7 | 22.7 | 7.2 | 18.5