## PWWTP recovery _12 June storm
2022-08-19 |  | Day 1 | 2022-08-20 | Day 2
Inflow from Paraparaumu catchment | 17041.4 |  | Inflow from Paraparaumu catchment | 16288.8
Inflow from Waikanae | 8524 |  | Inflow from Waikanae | 9411
TOTAL inflow to the site | 25565.4 |  | TOTAL inflow to the site | 25699.8
Treated effluent discharged | 17862.5 | Consent limit is 18,600 m3/day | Treated effluent discharged | 17920.8 | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 7702.9 | 30.81% | Bypass to the pond/ Basin | 7779 | 31.12%
Influent flow to WWTP | 18572.4 |  | Influent flow to WWTP | 18708.2
Recycled treated wastewater to inlet works | 709.9 | Treated WW used for cooling condenser / carry water for polymer | Recycled treated wastewater to inlet works | 787.4 | Treated WW used for cooling condenser / carry water for polymer
Pond Capacity (Actual) | 25000 | 100% | Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of 11:59 19/08/2022 | 17297.1 | 69.19% | Pond available capacity as of 11:59 20/08/2022 | 9518.1 | 38.07%
Rain fall in 24 hours |  |  | Rain fall in 24 hours
Paraparaumu WWTP | 41.5 |  | Paraparaumu WWTP | 34.5
Waikanae Beach | 32 |  | Waikanae Beach | 27
2022-08-21 |  | Day 3 | 2022-08-22 | Day 4
Inflow from Paraparaumu catchment | 11844.6 |  | Inflow from Paraparaumu catchment
Inflow from Waikanae | 9836 |  | Inflow from Waikanae
TOTAL inflow to the site | 21603.9 |  | TOTAL inflow to the site | 0
Treated effluent discharged | 17583 | Consent limit is 18,600 m3/day | Treated effluent discharged |  | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 4020.9 | 16.08% | Bypass to the pond/ Basin | 0 | 0%
Influent flow to WWTP | 17853 |  | Influent flow to WWTP
Recycled treated wastewater to inlet works | 270 | Treated WW used for cooling condenser / carry water for polymer | Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer | The graph compares the combined inflow from each terminal pump station to the inflow at the inlet of the treatment plant. Any coloured bars above the grey line is overflow to the storm basin. The solid blueline is a cummulative sum of all flows diverted into the stormbasin over the 24 hour period.You will see on Sunday, Council started to pump back effluent through the plant because the greyline (inlet flow) is higher than the coloured bars.
Pond Capacity (Actual) | 25000 | 100% | Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of 11:59 21/08/2022 | 13539 | 54.16% | Pond available capacity as of 11:59 22/08/2022
Rain fall in 24 hours |  |  | Rain fall in 24 hours
Paraparaumu WWTP | 7.5 |  | Paraparaumu WWTP | 0
Waikanae Beach | 7.5 |  | Waikanae Beach | 0
2022-08-23 | Day 5 |  | 2022-08-24 | Day 6
Inflow from Paraparaumu catchment |  |  | Inflow from Paraparaumu catchment
Inflow from Waikanae |  |  | Inflow from Waikanae
TOTAL inflow to the site | 0 |  | TOTAL inflow to the site | 0
Treated effluent discharged |  | Consent limit is 18,600 m3/day | Treated effluent discharged |  | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 0 | 0% | Bypass to the pond/ Basin | 0 | 0%
Influent flow to WWTP |  |  | Influent flow to WWTP
Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer | Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer
Pond Capacity (Actual) | 25000 | 100% | Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of 11:59 23/08/2022 |  |  | Pond available capacity as of 11:59 24/08/2022
Rain fall in 24 hours |  |  | Rain fall in 24 hours
Paraparaumu WWTP | 0 |  | Paraparaumu WWTP | 0
Waikanae Beach | 0 |  | Waikanae Beach | 0
2022-08-25 | Day 7 |  | 2022-08-26 | Day 8
Inflow from Paraparaumu catchment |  |  | Inflow from Paraparaumu catchment
Inflow from Waikanae |  |  | Inflow from Waikanae
TOTAL inflow to the site | 0 |  | TOTAL inflow to the site | 0
Treated effluent discharged |  | Consent limit is 18,600 m3/day | Treated effluent discharged |  | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 0 | 0% | Bypass to the pond/ Basin | 0 | 0%
Influent flow to WWTP |  |  | Influent flow to WWTP
Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer | Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer
Pond Capacity (Actual) | 25000 | 100% | Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of |  |  | Pond available capacity as of
Rain fall in 24 hours |  |  | Rain fall in 24 hours
Paraparaumu WWTP |  |  | Paraparaumu WWTP
Waikanae Beach |  |  | Waikanae Beach
2022-08-27 | Day 9 |  | 2022-08-28 | Day 10
Inflow from Paraparaumu catchment |  |  | Inflow from Paraparaumu catchment
Inflow from Waikanae |  |  | Inflow from Waikanae
TOTAL inflow to the site | 0 |  | TOTAL inflow to the site | 0
Treated effluent discharged |  | Consent limit is 18,600 m3/day | Treated effluent discharged |  | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 0 | 0% | Bypass to the pond/ Basin | 0 | 0%
Influent flow to WWTP |  |  | Influent flow to WWTP
Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer | Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer
Pond Capacity (Actual) | 25000 | 100% | Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of |  |  | Pond available capacity as of
Rain fall in 24 hours |  |  | Rain fall in 24 hours
Paraparaumu WWTP |  |  | Paraparaumu WWTP
Waikanae Beach |  |  | Waikanae Beach
2022-08-29 | Day 11
Inflow from Paraparaumu catchment
Inflow from Waikanae
TOTAL inflow to the site | 0
Treated effluent discharged |  | Consent limit is 18,600 m3/day
Bypass to the pond/ Basin | 0 | 0%
Influent flow to WWTP
Recycled treated wastewater to inlet works | 0 | Treated WW used for cooling condenser / carry water for polymer
Pond Capacity (Actual) | 25000 | 100%
Pond available capacity as of
Rain fall in 24 hours
Paraparaumu WWTP
Waikanae Beach
Formulas:
Treated effluent discharged = [Treated effluent discharged]+1